## Slide 1: Fire Engine Maintenance
Unit 1C – Pump Inspections and Maintenance

## Slide 2: Objectives
Inspect a pump package and describe pump maintenance procedures as outlined in the FEMPR.
Correctly enter all pump information in the FEMPR.
Conduct a pump performance test and record the results in the FEMPR.

## Slide 3: Objectives
Discuss winterization procedures as outlined in the FEMPR.
Troubleshoot and correct common problems with the pump and pump plumbing.

## Slide 4: Pump Package Inspection

## Slide 5: Pump Package

## Slide 6: Water Tank and Foam Tank

## Slide 7: Sight and Water Level Gauges

## Slide 8: Valves

## Slide 9: Coolant

## Slide 10: Oil

## Slide 11: Oil Check and Fill
Oil level is checked with the dipstick on the right side of the pump engine.
Oil is added at the fill cap located on the top of the pump engine next to the exhaust.

## Slide 12: Oil Drain
Oil drain is located at the bottom on the right side of the pump engine.
Drain is used to change oil.
Oil drain hose empties under the rear of the truck on the left side.

## Slide 13: Oil Filter
Oil filter is located next to the dipstick.
Filter should be changed when oil is changed.

## Slide 14: Fuel Filter

## Slide 15: Air Filter(s)

## Slide 16: Primer

## Slide 17: Switches, Glow Plugs, & Throttle

## Slide 18: Gauges
RPM Gauge
Engine Temperature Gauge
Water Pressure Gauge
Water Tank Level Master Gauge
Oil Pressure Gauge

## Slide 19: Water Pressure Safety Shutdown Switch

## Slide 20: Live Reels

## Slide 21: Water Inline Strainer

## Slide 22: Pump Mounting Bolts

## Slide 23: Pump Exhaust

## Slide 24: Gear Box
Gear Oil Fill Plug
Gear Oil Level Plug

## Slide 25: Pump Maintenance Requirements
Basic Service
  Change oil and filter every 50 pump hours.
  Change gear oil every 50 pump hours.
  Change fuel filter every 100 pump hours.
  Check bolts for tightness weekly.
  Clean or replace air filter as needed.
  Check for leaks.
  Document the service in the FEMPR.

## Slide 26: Yearly Pump Service
Annual Pump Motor Maintenance
  Check “Service Record” in the FEMPR.
  Change antifreeze every three (3) years.
  Check belt and replace if needed.
  At every 300 pump hours have a mechanic check and adjust the valve lash.
  Check air filter system for leaks.
  Check wiring for loose/worn wires.
  Service foam system as directed in owner’s manual.

## Slide 27: All Pump Seal Leak
The real question is how much and when?
  Seals need water to cool the sealing surface between the seal and shaft.
  An 11-15 drop per minute is acceptable while running at pressure.
  Small leaks after sitting for hours/days may be OK.
  Large leaks at pressure the seal should be changed.
  Document leaks and any repairs in the FEMPR.

## Slide 28: Pump Seal

## Slide 29: Pump Seal

## Slide 30: Pump Seal Maintenance
Order the right seals before disassembly.
  Use the pump model and serial number. (Hint check the FEMPR.)
Read the instructions and ask questions get help if needed.
  Can be downloaded from manufacturer’s website.
Take pictures if needed.
Keep area clean.
Do not rush or force anything.
Use a torque wrench; no impacts for reassembly.
Seal may need to seat/wear in after assembly; it could still leak for a while.
  Pumping water for 30 minutes should seat the seal.

## Slide 31: Winterization
Field or short-term
Full

## Slide 32: Pump Performance Test Guidelines
Test according to FEMPR or local standards.
Use same discharge port.
Document test results and identify trends.

## Slide 33: Commercial Certified Flow Meter

## Slide 34: Non-Commercial Flow Meter

## Slide 35: Homemade Pressure/Flow Tester

## Slide 36: Troubleshooting
Lights
  Not illuminated
Pump engine
  Will not start
  Starts but will not keep running
  Starts and runs but no water pressure exists
Other problems

## Slide 37: Objectives
Inspect a pump package and describe pump maintenance procedures as outlined in the FEMPR.
Correctly enter all pump information in the FEMPR.
Conduct a pump performance test and record the results in the FEMPR.

## Slide 38: Objectives
Discuss winterization procedures as outlined in the FEMPR.
Troubleshoot and correct common problems with the pump and pump plumbing.